Space Resolved Electron Density and Temperature Evaluation by X-Ray Pinhole Camera in ECR Plasma

G. Finocchiaro1,2, E. Naselli2, B. Mishra1,2, S. Biri3, M. Mazzaglia2, A. Pidatella2, R. Rácz3, G. Torrisi2 and D. Mascali2

1 Università degli Studi di Catania, Italy

2 INFN-LNS, Catania, Italy

3 ATOMKI, Debrecen, Hungary

Email: giorgio.finocchiaro@lns.infn.it

Abstract

X-ray space-resolved emission characterization can provide relevant features of plasmas in terms of local distribution of electron density and temperature. In the PANDORA project framework, a high resolution full-field X-ray pin-hole setup was developed. It consists of a 400 μm hole in a lead disk coupled with a 1 MP X-ray CCD camera and a multi-layered Pb collimator. Advanced analysis techniques for single-photon-counted (SPhC) and high-dynamical-range (HDR) were developed, allowing X-ray imaging and space-resolved spectroscopy at high spatial and energy resolution (560 μm and 230 eV @ 8.1 keV respectively). We here present the first quantitative evaluation of local warm electron density and temperature of an Electron Cyclotron Resonance (ECR) Argon plasma. Thermodynamic parameters have been extracted by the analysis of the bremsstrahlung spectra, according to the theoretical emissivity model in the approximation of local Maxwell-Boltzmann distribution of electron energies. Several regions of interest (ROIs) of the image were selected, studying the space dependence of plasma parameters inside the ECR plasma volume, comparing temperature and density maps in different plasma regions. The analysis method is a powerful tool to investigate the confinement of magnetic plasmas and heating dynamics, with relevant implications about R&D of ECR Ion Sources as well as for fundamental plasma physics and nuclear physics research in these setups.

INTRODUCTION

The main goal of PANDORA (Plasma for Astrophysics Nuclear Decay Observation and Radiation for Archaeometry) project (Mascali D. et al., 2022) is that of measuring b-decay lifetime variations of radioisotopes injected in a ECR plasma environment (Geller, R., 1996). This kind of measurements requires a good space-resolved characterization of plasma thermodynamical properties. Pinhole X-ray imaging technique is widely applied in plasma physics (Takács, E. et al., 2005), (McPherson, L.A et al., 2016). The setup implemented in the present work consists of a pin-hole focused CCD detector (Biri S. et al., 2021) operating in Single Photon Counting (SPhC) mode for energy-resolved acquisitions, thanks to a properly developed analysis algorithm (Naselli E. et al., 2022). Such system allows to characterize the X-ray fluorescence (XRF) (Romano F. P. et al., 2014) generated by the ionizing processes inside plasma, giving access to information about ions distribution and deconfined electron fluxes, thus allowing to study the morphologic structure of a plasma. The analysis method allowed to resolve locally the X-ray spectral information in a 2D X-ray plasma image, thus giving a map of plasma confinement dynamics. In addition, it enabled a local spectrometric investigation, which allows to indirectly measure plasma electron temperature and density. The implementation of High Dynamic Range (HDR) imaging technique was needed to investigate plasma regions with an emissivity range of several orders of magnitude. Results about the first spectrometric evaluation of local warm electron temperature and density, performed on a ECR argon plasma heated by 200 W microwave power in the 14 GHz ECR ion source of Atomki, Debrecen (Biri S. et al., 2021), will be described in this work.

EXPERIMENTAL SETUP

The measurements were carried out at the ECR Laboratory of Atomki - Debrecen (Biri S. et al., 2021) in a B-minimum plasma trap especially designed for research aim. An argon plasma was excited in Two Close Frequency Heating mode by the injection of two pumping frequencies at 13.9 GHz and 14.25 GHz, with a total net power of 200 W. In order to study the confinement dynamics by XRF spectroscopy, a special design of the plasma chamber has been implemented: the walls were covered by different metals which generate specific fluorescence peaks, induced by the electron fluxes escaping from plasma. In particular, the lateral wall of the cylindrical chamber was covered by a Tantalum liner (E(La)=8.09 keV) and the extraction endplate was made in Titanium (E(Ka)=4.51 keV). The X-ray view line and the inner plasma chamber inspection was allowed through an aluminium mesh (transparency ≥ 65%), which guarantees the enclosure of microwaves resonant cavity, allowing a wide imaging field of view. FIG. 1 shows a sketch of the experimental setup, where the plasma chamber structure is reported.

FIG. 1 - Sketch of the experimental setup. From the left: CCD camera, pinhole multi collimator system, plasma chamber coated of tantalum liner, closed by aluminium mesh in injection endplate and titanium extraction electrode.

The space-resolved detection of these spectral lines, together with the ones produced by the Ar ions of plasma (E(Ka) = 2.96 keV), provided a map of the X-ray emissivity.

The X-ray pin-hole camera system consists of an X-ray back-illuminated CCD (Andor, iKon-M SO series) made of 1024 × 1024 pixels (13,3 mm pixel size), sensitive in the range 0.4 - 20 keV and coupled with a 400 mm Pb pinhole, with an optical magnification M = 0.244 and a space resolution of ~560 mm. A 9.5mm Ti window was used to block visible and UV light. A specific analysis algorithm was developed (Naselli E. et al., 2022) for processing the SPhC output of the CCD and obtain the energy-space-resolved information. It is based on the graphic recognition of clusters of pixels activated by each single photon event, which contain the energy and position information of the impinging radiation. The SPhC condition required to set low exposure time per frame: two sets of 4000 and 1000 frames at respective exposure time of 0.5 and 0.05 seconds have been acquired to produce a single HDR energy-resolved image (Naselli E. et al., 2021).

ENERGY-FILTERED HDR IMAGING

Spectral information was collected on each pixel, with energy resolution 230 eV at 8 keV. This information can be then re-elaborated in two ways: 1) it can be integrated over user-defined spatial ROIs, in order to obtain the relative ROI-averaged X-ray emission, or 2) it is possible to select some specific energy intervals in order to map in space the spatial distribution of detected photons corresponding, for instance, to certain characteristic X-ray lines. The overall plasma X-ray emission is mainly composed of bremsstrahlung and XRF, whose characteristic lines detection allows to perform a selective elemental imaging, thus investigating the spatial features of plasma environment. Ar, Ti and Ta filtered maps were obtained by selecting each respective energy range of the main XRF characteristic lines, in order to study the dynamics of plasma confinement (Ar) and of the axial (Ti) and radial (Ta) losses. FIG. 2 shows the total energy spectrum of plasma emission (top), the XRF map of (a) Ar (E(K)=2.96 keV), (b) Ti (E(Ka)=4.51 keV) and (c) Ta (E(La)=8.15 keV) emission. Characteristic fluorescence lines are highlighted by the same respective colors on the full-frame energy spectrum (top). Since the field of view looks through the aluminium mesh of the injection flange, the plasmoid and the extraction flange on the opposite side are well visible in the pictures. All the images are affected by the “shadow” of the aluminium mesh (400 mm wire) along the line of view, which creates the well visible regular pattern as an intensity modulation.

(d)

Ti

Ar

Ta

FIG. 2 – Total energy spectrum (top) - Images filtered in the emission of argon (a), titanium (b) and tantalum (c). Characteristic fluorescence lines are highlighted on the spectrum with the same colors of respective images.

The plasmoid, the extraction flange and the chamber walls are well visible in the pictures with a spatial resolution of 560 mm, calculated at the center of plasma chamber. The quasi-circular cross-section of the plasmoid, well visible in FIG. 2-(a), well depicts the expected ellipsoidal cross-section of the ECR surface, defined by the magnetic isosurface corresponding to the cyclotron resonance. The tri-cuspidal structure, visible in FIG. 2-(b), corresponds to the footprint of axially deconfined plasma electrons impinging on the titanium plate, mostly determined by the shape of the confining hexapolar magnetic field at the intersection with the plate (see also FIG. 1, bottom-right). In FIG. 2-(c) the same effect is visible in the tantalum lateral wall of the plasma chamber.

ELECTRON DENSITY AND TEMPERATURE EVALUATION

According to a model of plasma emissivity (Mishra B. et al., 2021), it is possible to extrapolate the plasma thermodynamic parameters from the experimental emissivity density distribution Jexp, defined by the equation:

where hn is the photon energy, NP(hn)/t is the measured counting rate energy spectrum, DE is the energy bin width, VP the plasma volume and Wg/4p the geometrical efficiency. Such quantity is mainly composed by the XRF and bremsstrahlung emission. The Kramer cross-section formula, assuming a Maxwell-Boltzmann Electron Density Distribution Function (EEDF) (Mishra B. et al., 2021), defines the bremsstrahlung emissivity density, described by the equation:

where reri is the product of the electron and ion density, kB is the Boltzmann constant and Te the electron temperature. This expression can be used to fit the bremsstrahlung experimental emissivity density, obtained by the continuous part of the energy spectra, to extrapolate the electron temperature and density. A simulation is required to evaluate the emission volume VP and the geometrical detection efficiency Wg/4p in each point of the plasma, considering the overall geometry of the pin-hole optical system and the plasma chamber setup. The total plasma volume is identified as the region enclosed by the ECR surface, defined by the 3D-map of the resonant magnetic region. The geometrical efficiency has been defined in all the plasma volume as the projection of each point of plasma across the aluminium mesh and the pinhole into the CCD detector. FIG. 3 shows the aluminium mesh (a), the optical simulation of plasmoid through it (b) and the geometrical efficiency projection along the z axis (c). A set of ROIs, shown in Figure 4-(left), has been defined to study the emissivity density in several plasma regions. Each of them defines a 3D portion of plasma on which the volume V and the efficiency Wg/4 are summed.

(c)

(b)

(a)

FIG. 3 – (a) Aluminium mesh mounted along the line of view, (b) optical simulation of plasma view through the mesh, (c) geometrical detection efficiency projection along the z axis.

The emissivity density is defined in each ROI by summing the energy spectra contained into the respective area. FIG. 4 – (right) reports the extrapolated values of temperature and density in all the 4 ROIs, with their respective error bars, calculated by the experimental error propagation into the fit parameters. Being the experimental error mostly dependent on the spectrum intensity, the measurement can be in principle improved by extending the total measurement time and/or increasing the spatial ROI dimensions, in a trade-off between parameters extrapolation accuracy, measurement time and space resolution of the method.

FIG. 4-(Left) - Images obtained by the sum of all the three energy-filtered components (shown in FIG. 2-(a)-(b)-(c)) where the set of ROIs on the CCD image are highlighted in yellow. (Right) - Respective electron temperature and density results.

CONCLUSION

We reported the first experimental results of local plasma parameters evaluated by a CCD-based pin-hole camera for X-ray spectroscopy and imaging. Energy-resolved imaging makes possible the study of elemental space distribution, giving information about plasma structure and confinement dynamics with a space resolution of 560 μm and energy resolution of 230 eV at 8 keV. Local plasma parameters evaluation was obtained from the bremsstrahlung component of the acquired spectra with an accuracy of ∼ 10% - 25%, under the assumption of Maxwell-Boltzmann EEDF distribution.

ACKNOWLEDGMENT

The authors gratefully acknowledge the support of INFN by the Grants PANDORA (5th Nat. Comm.) and PANDORA_Gr3 (3rd Nat. Comm.).

REFERENCES

Geller, R. (1996) Electron Cyclotron Resonance Ion Sources and ECR Plasmas.

Takács, E. et al., (2005) Nucl. Instrum. Meth. B, 235, 120-125.

Romano F. P. et al. (2014) Anal. Chem. 86, 21, 10892–10899.

McPherson, L.A et al. (2016) Rev. Sci. Instrum., 87, 063502.

Biri S. et al. (2021) Eur. Phys. J. Plus, 136, 247.

Naselli E. et al. (2021) J. Instrum, 17, C01009.

Mishra B. et al. (2021) Phys. Plasmas. 28 102509.

Mascali D. et al. (2022). Universe 8(2), 80.

Naselli E. et al. (2022) Condens. Matter, 7, 5.