Reconstruction method of laser-driven ion-beam trace probe diagnosing the poloidal magnetic field in spherical tokamak

Z.Y. Zhang1, T.C. Xu1, X.Y. Yang2, C.J. Xiao1, X.L. Huang3, C. Lin1, R.C. He1

1 State Key Laboratory of Nuclear Physics and Technology, School of Physics, Peking University, Beijing 100871, China

2 Harbin Institute of Technology, Harbin 150001, China

3 ENN Science and Technology Development Co., Ltd., Langfang 065001, China

*E-mail: zzy546@pku.edu.cn

The poloidal magnetic field (Bp) is a critical factor for plasma equilibrium and stability, and multiple diagnostics are in need for a more accurate profile of Bp. The laser-driven ion-beam trace probe (LITP) has been proposed recently to diagnose the poloidal magnetic field (Bp) and radial electric field (Er) in tokamak.[1-3] It measures the displacements of laser-driven ion beams which directly depend on electromagnetic field along the beam traces, and tomography methods are employed for the reconstruction. Based on the three properties of laser-driven ion beam: large energy spread, short pulse lengths, and multiple charge states, the two-dimensional profile of both Bp and Er can be diagnosed by LITP.

Spherical tokamak (ST) is a promising compact device with high plasma beta and increased vertical stability. When applying LITP to diagnose Bp in ST, the larger Bp comparable to the toroidal magnetic field, turns the reconstruction problem into solving the nonlinear equations. In this presentation, an iterative reconstruction method is proposed to solve the nonlinear equations and a model to reconstruct Bp profile in ST is built. The schemes of ion traces are designed for EXL-50 (a middle-sized ST in Langfang) and simulated reconstruction has been conducted. The relative errors of reconstructed Bp are mostly under 10%. The effects of measurement error and system error have been evaluated, suggesting LITP can reconstruct Bp in ST for practical purposes.

References

1.	Yang, X.Y., et al., A new method of measuring the poloidal magnetic and radial electric fields in a tokamak using a laser-accelerated ion-beam trace probe. Review of Scientific Instruments, 2014. 85(11).

2.	Yang, X., et al., 2D profile of poloidal magnetic field diagnosed by a laser-driven ion-beam trace probe (LITP). Review of Scientific Instruments, 2016. 87(11).

3.	Yang, X., et al., A reconstruction method based on evolution of partial differential equation for the Laser-driven Ion-beam Trace Probe (LITP). Review of Scientific Instruments, 2018. 89(10).