First experimental measurements of the scintillator-based Fast-Ion Loss Detector in the MAST-U spherical tokamak

J.F. Rivero-Rodriguez1, L. Velarde2, T. Williams1,3, M. García-Muñoz4, 
K. McClements1, D. Dunai5, J. Galdon-Quiroga4, J. Rueda-Rueda4, R. Scannell1, E. Viezzer4 and the MAST-U Team

1 United Kingdom Atomic Energy Authority, Culham Science Centre, Abingdon, UK

2 Departamento de Ingeniería Energética, Universidad de Sevilla, Sevilla, Spain

3 Department of Physics and Astronomy, University of Exeter, Stocker Road, Exeter, UK

4 Departamento de Física Atómica, Molecular y Nuclear, Universidad de Sevilla, Sevilla, Spain

5 Wigner Research Centre for Physics, P.O.Box 49, H-1525, Budapest, Hungary

Figure 1. FILD spectrograms showing losses correlated with (a) CAE/GAE, (b) TAE and LLM.

The first scintillator-based Fast-Ion Loss Detector (FILD) in MAST-U is equipped with a fast scintillator material, a high-resolution camera and an avalanche photo-diode camera that enable the inference of the fast-ion loss velocity space and fast-ion loss fluctuations at frequencies up to 2 MHz. The probe is installed on a rotary and reciprocating system that makes it possible to adapt the probe orientation to the plasma magnetic field pitch and radial position, respectively. The first measurements have revealed a clear dependence of the losses with the distance between the probe and the separatrix. The measured velocity-space of the neutral beam injection (NBI) prompt-losses agrees with estimates made using the ASCOT5 Monte-Carlo full-orbit code.  Fourier analysis of the FILD signal revealed fast-ion losses from both on-axis and off-axis beam correlated with a wide variety of plasma instabilities, as can be observed in figure 1, such as toroidal Alfvén eigenmodes (TAE) and long-lived modes (LLM). Moreover, fast-ion losses in the range of 1 – 2 MHz have been revealed for the first time. These losses are correlated with fast-ion driven instabilities identified as either Compressional Alfvén Eigenmodes (CAEs) or Global Alfvén Eigenmodes (GAEs): their frequency is 0.3 – 0.45 times the cyclotron frequency of deuterium at the magnetic axis. Other plasma instabilities, such as sawteeth, fishbones and edge localized modes are seen to cause fast-ion losses.  Measurements with a neutron camera and solid-state neutral particle analyser confirm the drops in the confined fast-ion population when the fast-ion losses are observed. These results show the unique capability of the MAST-U FILD to provide high-resolution measurements of fast-ion losses enabling a detailed physics investigation of wave-particle interactions in a spherical tokamak.

* See author list of J. Harrison, et al. 2019 Nucl. Fusion 59 11201