The first results of the HCN interferometer measuring atmospheric pressure air plasmas

J.B. Zhanga, H.Q. Liua*, L.Q. Hua, Y.X. Jiea, X.C. Weia, Y Zhanga, J.X. Xiea,b, S.X. Wanga and H. Liana,c

Institute of Plasma Physics, Chinese Academy of Sciences, Hefei 230031, China

University of Science and Technology of China, Hefei, Anhui 230026, China

University of California, Los Angeles, California 90095, USA

*E-mail: hqliu@ipp.ac.cn

Abstract: A HCN heterodyne interferometer has been designed for measuring electron densities of Experimental Research Apparatus for Electromagnetic Science (ERAES) for hypersonic vehicle plasma in near space, whose density is from 1×1015 to 3×1019/m3 and the pressure is from 50Pa to 1500Pa. The light source is hydrogen cyanide (HCN) laser with wavelength of 337m, which has high spatial resolution compared with microwave interferometer. The interferometer is configured as a Mach-Zehnder interferometer, which intermediate frequency (IF) is generated by the Doppler shift with a rotating grating. The spatial and temporal resolution of the HCN interferometry is reach to about 14mm and 100s respectively. The antenna-coupled ALGaN/GaN-HEMT have been used as detectors which have more high sensitivity— typical RF responsivity is around 900 V/W — than VDI planar-diode Integrated Conical Horn Fundamental Mixers. The first results of the HCN interferometer designed for ERAES have been obtained in the recent experimental campaign, with phase resolution up to 0.04π, corresponding to a minimum detectable change of the line integral density 1.32×1013cm-2, which is sufficient to measure the electron density in the range of 1×1012-3×1013cm-3.

Keywords: HCN laser; HCN interferometer; air plasmas; electron density